WEST DES MOINES FIRE DEPARTMENT

TENT, CANOPY, OR INFLATABLE (MEMBRANE STRUCTURE)

PERMIT APPLICATION FEE $50.00

These items must be returned with the application fee before permit will be issued:

1.	Completed Application Form

2.	Certificate of Flame Resistance

3.	Site Plan and Interior Layout (i.e., tables & chairs, stage, etc.)

4.	Depending on location, a city temporary use permit may also be required.

Application Date: 	________		Type:  Tent      Canopy       Inflatable (Membrane)

Applicant’s Name (print): ________________________________________________________

Cell: _______________    Office: _______________ 	Fax: __________________

Email Address: _______________________________________________________________

NOTE:  An email address or fax number is needed to send our tent review and/or permit.

Name of Event (or Business): ____________________________________________________

Address of Event / Activity: ______________________________________________________

Proposed Use (Meeting, Party/Dance, Meal, etc.): ____________________________________________

Date(s) of Use: _______________ 	Time of Use: _______________ Alcohol served?  YES   NO

Scheduled Set-up Date/Time (Completed): ______________________________________________

STRUCTURE / INFLATABLE INFORMATION

Structure dimensions: 	Tent #1:      (ft) X      (ft) 	Tent Sides: YES __   NO

Tent #2:      (ft) X      (ft) 	Tent Sides: YES __   NO

Tent #3:      (ft) X      (ft) 	Tent Sides: YES __   NO

Will there be any heating or cooking equipment in the structure?    YES  NO

If “Yes” please explain__________________________________________________________________

Inflatable Info:  	Number of Inflatables:      __

Description(s): ______________________________________________________________________________

Provider/Vendor of Structure(s): ______________________________________________________

Contact Name: ______________________________	Office: __________________	Cell:_______________

I certify the above information is true to the best of my knowledge. I agree to install and to use the tent, canopy, membrane structure in accordance with the West Des Moines Fire Code requirements. I further certify that I have read the permit requirements provided on the back of this application.

Applicant Signature__________________________	Printed Name ________________________

If the permit application for the tent or inflatable is not received prior to 5 business days of the date of the

[OFFICE USE ONLY]

Application Received Date 		 Review Date 		 Inspection Date

Passed:  □ YES □ NO

Payment Type:  □Visa   □ MC   □Cash   □Money Order     Check #

event, the fee will be $100.00.

WEST DES MOINES FIRE DEPARTMENT

TENT, CANOPY, OR INFLATABLE (MEMBRANE STRUCTURE)

PERMIT REQUIREMENTS

The West Des Moines Fire Department has established the following requirements for the use of any TENT, CANOPY OR INFLATABLE (MEMBRANE) STRUCTURE having an area greater than 200 square feet for any tent, greater than 400 square feet for any canopy, and any inflatable (membrane) structure. Exception: tents used exclusively for camping.

- An application and site plan are required to be submitted with a $50.00 permit application fee a minimum of 5 business days prior to the date of the event to the address on the front or the fee will be $100.00 The site plan will need to be legible showing the location of the tent, in feet, from other structures, access roads, streets, vehicle parking, and property lines. The interior plan layout shall indicate tables, stages, etc.

- A certificate of flame-retardant treatment is to be provided with the application for each structure being permitted.

- Fire extinguishers shall be 10-pound ABC and are to be provided in each tent or canopy by the exits.

- An occupant load sign shall be established for the tent based upon 1 person for every 15 square feet when tables and chairs are used, one person for every 7 square feet when only chairs are used and one person for every 5 square feet for standing room. Only the usable floor space needs to be calculated when determining the occupant load. This sign shall be posted by the main entrance.

- Exits shall be spaced at approximately equal intervals around the perimeter of the tent so that no point within the tent is more than 100 feet from an exit. The numbers of exits are dependent upon the occupant load. Exit openings from tents shall remain open unless covered by a flame-resistant curtain and shall be of a color, or colors, which contrasts with the color of the tent.

- Self-luminous, internally, or externally illuminated exit signs are required when the occupant load exceeds 50 persons.

- Emergency lights shall be placed in any tent when the occupant load exceeds 50.

- Smoking is prohibited by any persons in any tent, canopy, or membrane structure. “No Smoking” signs are required to be posted in conspicuous locations.

- Tents, canopies, and membrane structures shall not be located within 20 feet of property lines, buildings, other tents, canopies or membrane structures, parked vehicles or internal combustion engines.

NOTE:  This is just a highlight of the fire code regulations. There are some exceptions to these regulations. This list is not an all-inclusive list. Source: International Fire Code, 2021 edition. If you have any questions, please contact us at 515-273-0643.